# Requirements Document

Generated: 2026-05-22 22:37

# Assumptions Made

The laboratory team uses multiple systems for sample processing and report generation.

The Laboratory Information System (LIS) is the primary system used for managing sample data.

Stakeholders include lab technicians, researchers, and potentially external parties such as patients or regulatory bodies.

The current manual processes are prone to human error, contributing to the delays and inefficiencies.

# 1. Business Requirements

BR-001: Improved Sample Processing Efficiency

Description: Reduce the average sample processing time by 30% to enhance laboratory productivity.

Stakeholder: Laboratory Team

Priority: High

BR-002: Enhanced Report Generation Timeliness

Description: Achieve a 25% reduction in report generation time to expedite result availability.

Stakeholder: Researchers and External Stakeholders

Priority: High

BR-003: Real-Time Visibility for Stakeholders

Description: Provide real-time updates on sample status to all stakeholders.

Stakeholder: Laboratory Team, Researchers, and External Stakeholders

Priority: Medium

BR-004: Operational Inefficiency Reduction

Description: Minimize operational inefficiencies caused by inconsistent integration between systems.

Stakeholder: Laboratory Management

Priority: High

# 2. Functional Requirements

FR-001: Automated Sample Status Updates

Description: The system must automatically update sample status across all relevant systems.

Acceptance Criteria: Successful update of sample status in all connected systems without manual intervention.

Priority: High

FR-002: Integrated Laboratory Information System (LIS)

Description: The system must integrate seamlessly with the LIS to ensure data consistency and reduce errors.

Acceptance Criteria: Successful integration with LIS, demonstrated by accurate and consistent data exchange.

Priority: High

FR-003: Real-Time Sample Tracking

Description: The system must provide real-time tracking of sample status for all stakeholders.

Acceptance Criteria: Real-time updates are visible to all authorized stakeholders.

Priority: Medium

FR-004: Automated Report Generation

Description: The system must generate reports automatically upon completion of sample processing.

Acceptance Criteria: Reports are generated correctly and made available to stakeholders without delay.

Priority: High

# 3. Non-Functional Requirements

NFR-001: System Performance

Description: The system must process sample data and generate reports efficiently.

Category: Performance

Measure: Average processing time per sample is less than 2 minutes.

Priority: High

NFR-002: Data Integrity and Security

Description: The system must ensure the integrity and security of sample data.

Category: Security

Measure: Zero data breaches or losses during a 12-month period.

Priority: High

NFR-003: System Uptime and Availability

Description: The system must be available for use at all times when needed.

Category: Availability

Measure: System uptime is at least 99.9% over any given month.

Priority: High

NFR-004: User Experience

Description: The system must be user-friendly and easy to navigate for lab technicians and stakeholders.

Category: Usability

Measure: User satisfaction rating of at least 4.5 out of 5 in usability surveys.

Priority: Medium

# 4. Transitional Requirements

TR-001: Data Migration from Existing Systems

Description: Migrate existing sample data from current systems to the new integrated system.

Timeline: Prior to go-live, ensuring all historical data is preserved and accessible.

Owner: IT Department

Priority: High

TR-002: Training for Laboratory Staff

Description: Provide comprehensive training to laboratory staff on the new system.

Timeline: At least 2 weeks before go-live to ensure staff are comfortable with the new system.

Owner: Training Department

Priority: High

TR-003: Phased Rollout

Description: Implement the new system in phases to minimize disruption to ongoing laboratory operations.

Timeline: Over a period of 6 weeks, with each phase building on the previous one.

Owner: Project Management Team

Priority: High

TR-004: Temporary Support for Legacy Systems

Description: Maintain temporary support for legacy systems during the transition period.

Timeline: Until all phases of the new system are fully implemented and stable.

Owner: IT Department

Priority: Medium

# Requirements Summary

| Category | Count |
| --- | --- |
| Business | 4 |
| Functional | 4 |
| Non-Functional | 4 |
| Transitional | 4 |
| TOTAL | 16 |